## Incident Tracker
Date | Time | Country | Location | Sub-Location | Severity | Incident Type | Category | Equipment Category | Nature Of Incident | Brief About Incident | Root Cause | Immediate Corrective Action | Preventive Action | Status | Closure Date | Remarks
2023-01-07 | 23:10 | India | Mumbai | Mumbai | High | PAC Alarm | Electromechanical | PAC | PAC Alarm | At 23:10 hrs IST we have received server room high tempreature alarm on BMS system, our on duty electrican and supervisor activated the stand by PAC unit and later Server room tempreature was maintained as per the requirement, post a complaint was log with the OEM vendor, next day Morning engineer visited at site and identifed that PAC unit compressor was faulty, same day in the evening compressor was replaced and PAC unit was functional. | 01 no's PAC Unit got non functional due to compressor failure. | Stand by PAC was activated and faulty compressor was replaced with new one | Observe the performace of PAC units during regular preventive maintenance activity. | Closed | 2023-01-08